Supplementary Table S2.

qPCR optimization data for the Ips typographus TaqMan assay generated on a CFX96 real-time PCR system using QuantiNova Probe PCR Master Mix. Reactions were performed across an annealing temperature gradient from 50 to 58 °C, with primer concentrations ranging from 0.1 to 0.4 µM (each) and the probe maintained at 0.2 µM. Each reaction contained 1 µL of template DNA (5 ng), and all conditions were evaluated in three technical replicates. Values are reported as mean Cq ± SD.

| Primer concentration (µM) | Annealing temperature (°C) | Mean Cq ± SD |
| --- | --- | --- |
| 0.1 | 50 | 30.16 ±0.345 |
| 0.1 | 52 | 28.57 ±0.154 |
| 0.1 | 55 | 24.32 ±0.658 |
| 0.1 | 56 | 26.48 ±0.538 |
| 0.1 | 58 | 28.32 ±0.621 |
| 0.2 | 50 | 29.24 ±0.362 |
| 0.2 | 52 | 27.31 ±0.846 |
| 0.2 | 55 | 22.19 ±0.241 |
| 0.2 | 56 | 23.64 ±0.523 |
| 0.2 | 58 | 27.28 ±0.518 |
| 0.3 | 50 | 30.43 ±0.252 |
| 0.3 | 52 | 27.28 ±0.428 |
| 0.3 | 55 | 21.49 ±0.374 |
| 0.3 | 56 | 22.83 ±0.362 |
| 0.3 | 58 | 25.42 ±0.412 |
| 0.4 | 50 | 26.86 ±0.246 |
| 0.4 | 52 | 24.37 ±0.036 |
| 0.4 | 55 | 20.87 ±0.120 |
| 0.4 | 56 | 23.64 ±0.075 |
| 0.4 | 58 | 26.52 ±0.832 |