### Supplementary Table S3.

Results of the inter-laboratory blind panel performed to evaluate diagnostic sensitivity, specificity, and reproducibility of the Ips typographus qPCR assay. Mean Cq values ± standard deviation (SD) obtained by two independent laboratories are reported for target samples; n/a indicates no amplification for non-target species.

| DNA sample | Mean Cq ± SD (Lab. 1) | Mean Cq ± SD (Lab. 2) |
| --- | --- | --- |
| Lepturges confluens | n/a | n/a |
| Neoclytus mucronatus | n/a | n/a |
| Ips typographus (adult) | 24.65 ± 0.54 | 23.45 ± 0.32 |
| Lepturges confluens | n/a | n/a |
| Lepturges confluens | n/a | n/a |
| Neoclytus acuminatus | n/a | n/a |
| Ips typographus (artificial frass) | 24.56 ± 0.79 | 24.64 ± 0.48 |
| Ortotomicus erosus | n/a | n/a |
| Pityokteines curvidens | n/a | n/a |
| Pityokteines curvidens | n/a | n/a |
| Pityophthorus juglandis | n/a | n/a |
| Pityophthorus pityographus | n/a | n/a |