## report overview
|  | Reference Buildings |  |  |  |  | Measures |  |  | Energy calculation |  |  |  |  | Cost calculation |  |  |  | Sensitivity analysis |  | Derivation of cost-optimal |  |  | Gap analysis
Member State | Member State code | New residential | New non-residential | Existing residential | Existing non-residential | Virtual or Existing? | Average number new | Average number existing | Fair competition | Methods | Multi-stage | Dynamic | All energy uses residential | All energy uses non-residential | All costs | Both perspectives | Reference year | Full cost approach | Available | Number of parameters | Cost-optimal range | Reference perspective | Results available | With current requirements | With future/NZEB requirements | Gaps > 15%? | Justifications | Plan
Austria | AT | yes | no | yes | no | Virtual buildings | medium | medium | enough | National standard | no | no | yes | not clear | no | no | n/a | yes | yes | 4 | no | financial | few | not clear | no | not clear | n/a | n/a
Belgium Brussels | BEbru | yes | no | yes | no | Real buildings | very high | very high | certainly | Not clear | yes | not clear | yes | not clear | yes | no | 2018 | not clear | yes | 2 | not clear | financial | few | yes | no | no | no | n/a
Belgium Flanders | BEfla | yes | yes | no | yes | Real buildings | very high | very high | enough | National standard | not clear | no | no | yes | yes | yes | Not clear | no | yes | 4 | no | macroeconomic | few | no | no | not clear | no | no
Belgium Wallonia | BEwal | yes | yes | yes | yes | Real buildings | very high | very high | certainly | Not clear | no | not clear | no | yes | not clear | yes | 2017 | not clear | no | 0 | no | macroeconomic | yes | yes | yes | yes | no | no
Cyprus | CY | yes | yes | yes | yes | Virtual buildings | medium | medium | not much | Dynamic simulation, Not clear and Other | no | yes | yes | yes | yes | yes | n/a | not clear | yes | 3 | not clear | not clear | no | not clear | no | not clear | no | n/a
Czech Republic | CZ | yes | yes | yes | yes | Real buildings | high | medium | enough | National standard and Not clear | no | no | no | yes | no | not clear | 2016 | yes | yes | 3 | not clear | financial | no | yes | no | not clear | no | no
Germany | DE | yes | yes | no | no | Other | high | medium | not clear | Not clear | not clear | not clear | not clear | not clear | not clear | no | 2020 | yes | no | 1 | not clear | financial | few | no | no | not clear | no | no
Denmark | DK | yes | no | yes | no | Real buildings | medium | low | not much | CEN standard | no | not clear | not clear | not clear | not clear | yes | 2017 | not clear | yes | 2 | no | financial | some | yes | yes | yes | no | no
Estonia | EE | yes | no | yes | no | Real buildings | low | low | enough | Dynamic simulation, Not clear and National standard | no | yes | no | yes | no | yes | n/a | not clear | yes | 2 | yes | not clear | few | yes | yes | yes | yes | yes
Greece | EL | yes | no | yes | no | Virtual buildings | n/a | n/a | certainly | CEN standard | not clear | no | yes | yes | no | yes | 2016 | yes | yes | 3 | no | macroeconomic | some | yes | no | yes | no | no
Spain | ES | yes | no | yes | no | Real buildings | low | low | enough | Dynamic simulation and National standard | no | yes | yes | yes | yes | yes | 2015 | yes | yes | 4 | no | financial | some | yes | yes | yes | no | yes
Finland | FI | yes | yes | yes | yes | Other | medium | medium | not much | Dynamic simulation and National standard | no | yes | yes | yes | not clear | yes | n/a | yes | yes | 4 | no | financial | yes | yes | no | not clear | no | no
Flaanders | FIaal | yes | no | yes | no | Real buildings | low | low | not much | National standard and CEN standard | yes | yes | not clear | not clear | yes | yes | 2017 | yes | yes | 5 | no | macroeconomic | few | yes | no | not clear | yes | no
France | FR | yes | yes | yes | yes | Real buildings | medium | medium | not much | Not clear | no | not clear | yes | yes | not clear | yes | 2018 | not clear | yes | 4 | no | financial | few | yes | yes | yes | no | no
Gibiltar | GIB | no | yes | yes | yes | Virtual buildings | high | very high | enough | CEN standard | no | no | yes | yes | not clear | yes | n/a | yes | yes | 3 | no | macroeconomic | yes | yes | no | no | no | no
Hungary | HU | yes | yes | yes | yes | Real buildings | medium | medium | enough | Not clear | no | not clear | no | yes | not clear | yes | 2017 | not clear | yes | 3 | no | financial | yes | yes | yes | no | yes | no
Irland | IE | yes | yes | yes | yes | Virtual buildings | very high | very high | certainly | CEN standard | no | no | yes | yes | not clear | yes | 2018 for residential buildings 2019 for non-residential buildings | not clear | yes | 4 | no | macroeconomic | yes | yes | no | yes | yes | no
Italy | IT | yes | no | yes | yes | Virtual buildings | n/a | n/a | not clear | National standard | yes | no | yes | yes | not clear | not clear | n/a | yes | not clear | 0 | not clear | not clear | no | not clear | no | not clear | n/a | n/a
Lithuania | LT | yes | yes | yes | yes | Real buildings | medium | medium | not much | CEN standard and | no | not clear | yes | yes | no | yes | 2017 | yes | yes | 3 | no | both | yes | yes | yes | no | no | no
Latvia | LV | yes | yes | yes | yes | Real buildings | n/a | n/a | not clear | CEN standard | not clear | not clear | yes | yes | not clear | yes | 2018 | not clear | yes | 3 | not clear | macroeconomic | no | yes | no | yes | yes | yes
Luxemburg | LU | yes | yes | yes | yes | Real buildings | medium | medium | none | National standard | yes | no | no | yes | yes | yes | 2016 | yes | yes | 3 | no | financial | yes | yes | no | yes | yes | no
Malta | MT | no | yes | no | no | Real buildings | medium | medium | enough | National standard | no | no | not clear | yes | yes | yes | 2017 | not clear | yes | 3 | yes | macroeconomic | few | yes | no | yes | no | yes
Netherlands | NL | yes | yes | yes | no | Virtual buildings | medium | medium | not much | National standard | no | not clear | no | not clear | not clear | yes | 2018 | not clear | yes | 3 | yes | financial | no | yes | no | no | n/a | n/a
Poland | PL | yes | yes | yes | yes | Real buildings | medium | high | enough | National standard | no | no | no | no | no | yes | 2017 | not clear | no | 0 | no | macroeconomic | few | yes | yes | yes | no | no
Portugal | PT | no | no | no | no | Virtual buildings | n/a | n/a | enough | Dynamic simulation | no | yes | not clear | yes | yes | yes | 2014 | yes | yes | 3 | no | macroeconomic | no | yes | no | yes | not clear | yes
Romania | RO | yes | yes | yes | yes | Real buildings | medium | medium | none | Not clear | no | not clear | no | yes | no | yes | 2017 | not clear | yes | 2 | not clear | macroeconomic | few | yes | no | yes | yes | not clear
Sweden | SE | yes | no | yes | no | Virtual buildings | medium | low | not much | Dynamic simulation and Not clear | no | yes | not clear | not clear | not clear | yes | 2017 | not clear | yes | 5 | no | not clear | few | yes | no | yes | no | no
Slovenia | SI | yes | yes | yes | no | Virtual buildings | medium | high | certainly | Dynamic simulation | no | yes | no | yes | no | yes | 2017 | yes | yes | 4 | no | financial | yes | yes | no | no | no | no
Slovakia | SK | yes | no | yes | no | Real buildings | medium | medium | not much | CEN standard and Not clear | not clear | no | no | yes | not clear | yes | not clear | not clear | no | 0 | yes | macroeconomic | few | no | no | not clear | no | no
United Kingdom | UK | yes | yes | yes | yes | Virtual buildings | very high | very high | certainly | Not clear and National standard | no | not clear | not clear | yes | no | yes | 2017 | yes | yes | 3 | yes | macroeconomic | few | yes | no | yes | no | no
[5 empty] | Virtual buildings | 11
[5 empty] | Real buildings | 17
[5 empty] | Unclear | 2

## PEF, discount rate, energy pric
[12 empty] | Energy price (Financial perspective) [EUR/kWh] | [10 empty] | Annual increase of energy price (Financial perspective) [EUR/kWh]
| Primary energy factors | [5 empty] | Discount rate |  |  |  |  | Residential |  |  |  |  | Non-Residential | [5 empty] | Residential |  |  |  |  | Non-Residential
Member State | Electricity | Gas | Oil | District heat | Biomass |  | Financial Residential | Financial Non-residential | Macro Residential | Macro Non-residential |  | Electricity | Gas | Oil | District heat | Biomass | Electricity | Gas | Oil | District heat | Biomass |  | Electricity | Gas | Oil | District heat | Biomass | Electricity | Gas | Oil | District heat | Biomass
AT | 1.91 | 1.17 | n/a | 0.94 - 1.6 | 1.08 |  | 2.19 ± 0.38 % | n/a | n/a | n/a |  | 0.195 | 0.078 |  | 0.14 | 0.048 | [6 empty] | 0.024 | 0.036 |  | 0.013 | 0.021
BEbru | 2.5 | 1 | n/a | n/a | 1 |  | 0.03 | n/a | 0.03 | n/a |  | 0.199 | 0.053 | 0.053 |  | 0.05 | [6 empty] | 0.0023 | 0.0181 | 0.0244
BEfla | 2.5 | 1 | 1 | n/a | n/a |  | 0 | 3% (public) - 4% (commercial) | 0 | 0.03 |  | 0.375 | 0.07 | 0.0525 |  | 0.06 | [11 empty] | 0.007 | 0.019333
BEwal | n/a | n/a | n/a | n/a | n/a |  | 0.02 | 0.03 | 0.03 | 0.04 |  | 0.2799 | 0.052 |  |  | 0.445 | 0.1899 | 0.0481 |  |  | 0.445 |  | 0.0175 | 0.0175 |  |  |  | 0.0175 | 0.0175
CY | 2.7 | 1.1 | 1.1 | 0.05 | 0.1 |  | 0.05 | 0.11 | 3-4% | n/a |  | 0.19 |  | 0.082 |  | 0.085 |  |  | 0.082 |  | 0.085 |  | 0.015 |  | 0.012 |  |  | 0.015 |  | 0.012
CZ | n/a | n/a | n/a | n/a | n/a |  | 0.03 | 0.03 | n/a | n/a |  | 0.12197 | 0.056404 |  | 0.084606 | 0.049353 |  | 0.052879 |  | 0.077555 | 0.038778 |  | 0.02 | 0.02 |  | 0.02 | 0.02 | 0.02 | 0.02 |  | 0.02 | 0.02
DE | 1.8 | 1.1 | 1.1 | 0,7 (CHP - fossil fuel) 0 (CHP biofuels) 1,3 (heating plant - fossil fuels) 0,1 (heating plant - biofuels) | 0,2 (Wood) 0,5 (biogas, bio-oil) |  | n/a | n/a | n.a. | n.a. |  | 0.254 | 0.061 |  |  | 0.0495 |  | 0.061 |  |  | 0.0495 |  | 0.0025 | 0.011 |  |  |  | 0.0025 | 0.011
DK | 2.31 | 1.1 | n/a | 0.94 | n/a |  | 0.03 | n/a | 3 % - 4% | 3 % - 4% |  | 0.24096 | 0.068809 |  | 0.052343 |  | 0.21954 | 0.068809 |  | 0.052343 |  |  | 0.008 | 0.013 |  | 0.019 |  | 0.008 | 0.013 |  | 0.019
EE | 2 | 1 | 1 | 0.9 | 0.75 |  | n/a | n/a | n/a | n/a |  | 0.113 | 0.048 |  | 0.06 | 0.045 | 0.113 | 0.048 |  | 0.06 | 0.045 |  | 0.01 | 0.01 |  | 0.01 | 0.01 | 0.01 | 0.01 |  | 0.01 | 0.01
EL | 2.9 | 1.05 | 1.1 | 0.7 | 1 |  | 0.07 | 0.07 | 0.03 | 0.03 |  | 0.21064 | 0.07514 |  | 0.06932 | 0.0645 | 0.1898 | 0.07514 |  | 0.06932 | 0.0645 |  | 0.028 | 0.028 |  | 0.028 | 0.028 | 0.028 | 0.028 |  | 0.028 | 0.028
ES | 2.35 | 1.12 | n/a | n/a | n/a |  | 7% (new) 10% (existing) | 7% (new) 10% (existing) | 3% (new) 4% (existing) | 3% (new) 4% (existing) |  | 0.289 | 0.072 |  |  | 0.063 | 0.289 | 0.072 |  |  | 0.063 |  | 0.015 | 0.015 |  |  |  | 0.015 | 0.015
FI | 1.2 | 1 | 1 | 0.5 | n/a |  | 1% - 6% - 10% | 1% - 6% - 10% | 3% - 4% | 3% - 4% |  | 0.13 |  | 0.09 | 0.07 | 0.06 | 0.1 |  | 0.09 | 0.07 | 0.06 |  | 0.024 |  | 0.026 | 0.024 | 0.024 | 0.024 |  | 0.026 | 0.024 | 0.024
FIaal | 1.6 | 1 | 1 | 1 | 1 |  | 0.04 | 0.05 | 0.03 | 0.03 |  | 0.1102 |  |  |  |  | 0.1102 | [5 empty] | 0.0173 |  |  |  |  | 0.0173
FR | 2.58 | 1 | 1 | 1 | 1 |  | 0.04 | 7% for private buildings 4% for public buildings | 0 | 0 |  | 0.1389 | 0.0574 | 0.0624 | 0.0915 | 0.0373 | 0.12 | 0.0479 | 0.0708 | 0.0808 | 0.061 |  | 0.011 | 0.019 | 0.03 | 0.006 | 0.012 | n.a.
GIB | 4.03 | 1.22 | 1.1 | n/a | 1.01 |  | 0.06 | 0.06 | 0.03 | 0.03 |  | 0.3108 |  |  |  |  | 0.3108
HU | n/a | n/a | n/a | n/a | n/a |  | 0.03 | 0.03 | 0.03 | 0.03 |  | 0.11193 | 0.035599 |  | 0.042538 | 0.029867 | 0.11193 | 0.035599 |  | 0.042538 | 0.029867 |  | 0.015 | 0.01 |  |  |  | 0.015 | 0.01
IE | 1.86 | 1.1 | 1.1 | 1.1 | 1.1 |  | 0.07 | 0.07 | 0.05 | 0.05 |  | 0.24 | 0.055 | 0.08 | 0.061 | 0.055 | 0.231 | 0.042 |  | 0.01 | 0.055
IT | n/a | n/a | n/a | n/a | n/a |  | n/a | n/a | n/a | n/a
LT | n/a | 1.1 | 1.1 | 0.91 | 0.1 |  | 0.03 | n/a | n/a | n/a |  | 0.114 | 0.028245 |  |  |  | 0.114 | 0.028245 |  |  |  |  | 0.004 | 0.018667 |  |  |  | 0.004 | 0.018667
LV | 2 | 1.1 | n/a | 1.5 | 0.2 |  | 0.03 | 0.03 | 0.03 | 0.03 |  |  | 0.041 |  | 0.047 |  |  | 0.041 |  | 0.047
LU | 2.66 | 1.12 | 1.1 | 0.62 | 0.07 |  | 0.03 | 0.03 | 0.03 | 0.03 |  | 0.162 | 0.05 | 0.065 | 0.08 | 0.042 | 0.08 | 0.033 | 0.059 | 0.08 | 0.041 |  | 0.028 | 0.028 |  |  |  | 0.028 | 0.028
MT | 3.45 | 1.1 | 1.1 | n/a | n/a |  | n/a | 0.045 | n/a | 0.03 | [6 empty] | 0.154 |  | 0.154 | [8 empty] | 0.0020455 |  | 0.053214
NL | 2.56 | 1 | n/a | n/a | n/a |  | 0.045 | 0.07 | 0.03 | 0.03 |  | 0.21 | 0.021163 |  |  |  | 0.1565 | 0.014498 |  |  |  |  | 0.053651 | 0.016915 |  |  |  | 0.0090522 | 0.024183
PL | 3 | 1.1 | 1.1 | 0,2-1,2 | 0.2 |  | 0.0283 | 0.0283 | 0.0283 | 0.0283 |  | 0.15187 | 0.046729 |  | 0.074766 | 0.03972 | 0.15187 | 0.046729 |  | 0.074766 | 0.03972 |  |  | 0.028 | 0.028 |  |  |  | 0.028 | 0.028
PT | 2.5 | 1 | 1 | n/a | n/a |  | n/a | 0.03 | n/a | 0.03 | [17 empty] | 0.01 | 0.01
RO | 2.62 | 1.17 | 1.1 | 0.92 | 1.3 |  | n/a | n/a | 0.03 | 0.03
SE | 1.6 | 1 | 1 | 1 | n/a |  | 0.04 | 0.05 | 0.03 | 0.03 |  | 0.11016 |  |  | 0.080722 |  | 0.11016 |  |  | 0.080722 |  |  | 0.017333 |  |  | 0.013 |  | 0.017333 |  |  | 0.013
SI | 2.5 | n,a | 1.1 | n.a | n.a |  | 0.03 | 0.03 | 0.03 | 0.03 |  | 0.1655 | 0.0545 | 0.079 | 0.0465 | 0.053 | 0.0895 | 0.0335 | 0.079 | 0.0465 | 0.0225 |  | 0.0032226 | 0.015596 | 0.024473 | 0.014695 | 0.0069182 | 0.0057728 | 0.01592 | 0.024473 | 0.014695 | 0.0066667
SK | 2.2 | 1.1 | n/a | 0.7 | n/a |  | 0.02 | 0.02 | 0.02 | 0.02 |  | 0.1481 |  |  |  |  | 0.1481 | [5 empty] | 0.02 | 0.02 |  |  |  | 0.02 | 0.02
UK | 2.364 | 1.127 | n/a | n/a | n/a |  | 0.06 | 0.06 | 0.035 | 0.035 |  | 0.1994 | 0.05119 |  |  |  | 0.1381 | 0.032738
| Electricity | Gas | Oil | District heat | Biomass |  | Financial Residential | Financial Non-residential | Macro Residential | Macro Non-residential |  | Electricity | Gas | Oil | District heat | Biomass | Electricity | Gas | Oil | District heat | Biomass |  | Electricity | Gas | Oil | District heat | Biomass | Electricity | Gas | Oil | District heat | Biomass
MIN | 1.2 | 1 | 1 | 0.05 | 0.07 | MIN | 2% | 2% | 2% | 2% | MIN | 0.11016 | 0.021163 | 0.0525 | 0.042538 | 0.029867 | 0.08 | 0.014498 | 0.059 | 0.01 | 0.0225 | MIN | 0.23% | 1% | 1.2% | 0.6% | 0.6918% | 0.2045% | 1% | 1.2% | 1% | 0.6667%
MAX | 4.03 | 1.22 | 1.1 | 1.5 | 1.3 | MAX | 7% | 11% | 5% | 5% | MAX | 0.375 | 0.078 | 0.09 | 0.14 | 0.445 | 0.3108 | 0.07514 | 0.154 | 0.0808 | 0.445 | MAX | 5.365% | 3.6% | 3% | 2.8% | 2.8% | 2.8% | 2.8% | 5.321% | 2.8% | 2.8%
AVERAGE | 2.3878 | 1.0751 | 1.0611 | 0.85353 | 0.674 | AVERAGE | 4.066% | 4.901% | 3.067% | 3.111% | AVERAGE | 0.19085 | 0.053759 | 0.070487 | 0.07145 | 0.075073 | 0.15637 | 0.045949 | 0.089133 | 0.060888 | 0.078562 | AVERAGE | 1.679% | 1.91% | 2.415% | 1.641% | 1.742% | 1.378% | 1.804% | 2.874% | 1.839% | 1.773%
MEDIAN | 2.5 | 1.1 | 1.1 | 0.91 | 1 | MEDIAN | 3% | 4.75% | 3% | 3% | MEDIAN | 0.19 | 0.05375 | 0.072 | 0.06966 | 0.05 | 0.1431 | 0.046729 | 0.0805 | 0.06932 | 0.05225 | MEDIAN | 1.615% | 1.81% | 2.524% | 1.47% | 2% | 1.5% | 1.808% | 2.6% | 1.9% | 2%

## Cost-optimal levels, gaps
| Cost-optimal levels | [15 empty] | Gaps
| new SFH |  | new MFH |  | new Office |  | new Other N-R |  | existing SFH |  | existing MFH |  | existing Office |  | existing Other N-R |  | Building level (primary energy) | [7 empty] | Element level (U-value)
Member State | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | PE [kWh/m2y] | GC [EUR/m2] | new SFH | new MFH | new Office | new Other N-R | existing SFH | existing MFH | existing Office | existing Other N-R | existing SFH | existing MFH | existing Office | existing Other N-R
AT
BEbru | 64.47 | 480 | 54.84 | 580 |  |  |  |  | 119.095 | 390 | 149.26 | 620 |  |  |  |  | -30% | -18% |  |  | -54% | -61% |  |  | -10% | -41%
BEfla
BEwal | 93.25 | 1719.8204 | 63 | 1777.4197 | 64 | 2469.2935 | 47.5 | 1624.3625 | 142.5385 | 1337.4323 | 245.5 | 1220.131 | 115 | 1069.5656 |  |  | 40.24% | 82.54% | [6 empty] | 6.86% | -6.686% | 9.193% | 6.224%
CY
CZ
DE
DK | 52.425 | 815.5957 | 39.94 | 461.0442 | 46.02 | 364.8594 |  |  | 121.1967 | 865.328 | 57.9833 | 324.6765 | 63.26 | 374.7657 |  |  | -21.76% | -15% | -10.97% |  | 9.833% | 63% | 38.75% |  | -7% | -2%
EE | [16 empty] | 46% | 31% | 42% |  | 16% | 38% | 31%
EL | 108.55 | 1449.14 | 52.01 | 1267.367 | 114.05 | 1315.9912 |  |  | 163.2062 | 516.1006 | 107.3575 | 328.6021 | 142.7375 | 354.9559
ES | 52.9333 | 324.85 | 44.6667 | 294.9667 | 96.25 | 429.9667 |  |  | 101.3667 | 234.5833 | 102.3 | 333.5 | 85.6 | 343.2333 |  |  | 13.73% | 21.08%
FI | 95.05 | 1831.94 | 79.9 | 1601.3 | 90.85 | 2240.09 | 120.21 | 2481.22 | 245 | 421.3333 | 96.6667 | 282 | 92.5 | 298 | 121.5 | 236 | 13.7% | 9.2% | 13% | 13.5% | 7.5% | 4% | 0% | 10%
FIaal | 84.6667 | 2999.1987 | 65 | 4165.8606 | 61.5 | 2437.3064 | [10 empty] | 11.11% | 30.77% | 30.08%
FR | [16 empty] | -23.82% | 1.67% | 3.485% | -9.919% | 1.095% | -4.593% | -33.89% | 5.573% | -13.63% | -13.63% | -9.448% | -9.448%
GIB |  |  | 218 | 531.69 | 239 | 386.28 |  |  | 217 | 748.14 | 234 | 739.815 | 296 | 488.4 |  |  |  | 11.93% | 11.72% | 37.28%
HU | 132 | 804.2206 | 138 | 800.9262 | 106 | 116.3695 | 86 | 70.1632 | 142.875 | 220.5716 | 112.5 | 175.589 | 156 | 123.079 | 157.5 | 148.0662 | -32% | -38% | -6% | -1% | -6% | 4% | -9.5% | -30%
IE | 62.4 | 299 | 66 | 305 | 69 | 699.1667 | 211.1429 | 865.7143 | 103.8333 | 243.5 | 88 | 269 | 210 | 457 | 348.75 | 515.5 | -4.568% | -34.85% | 8.646% | -9.039% | 23.41% | 42.06% | -27.78% | 82.19% | 44.85% | 38.21% |  | 42.76%
IT
LT | 43 | 496 | 87 | 282 | 53 | 202 | 36 | 281 | 51 | 471 | 92 | 287 | 58 | 210 | 43 | 266 | -10.14% | -3.96% | 0.76% | 2.1% | 6.62% | 4.71% | 9.69% | 10.41% | 17% | 17% | 7.75% | 7.75%
LV
LU | 125.3 | 541.5 | 81.55 | 323 | 149.5333 | 474 | 161.55 | 486.5 | 131.2 | 711 | 85.25 | 401.5 | 154.2833 | 518.1667 | 178.85 | 527.5 | -20.54% | -17.6% | 0% | -20.9% | 7.968% | 7.667% | 14.24% | -16.09% | 13.1% | 13.1% | 13.1% | 13.1%
MT |  |  |  |  | 435.5 | 460.56 | 718.1783 | 791.7817 | [6 empty] | 775.2233 | 807.9783 |  |  | 61.15% | 29.61% |  |  |  | 26.76%
NL | [16 empty] | 5% | 5% | -2.5% | -2.5% |  |  |  |  | -24.25% | -24.25% | -24.25%
PL | 61.505 | 118.9916 | 56.715 | 122.0194 | 97.2 | 100.9208 | 78.64 | 126.2926 | [8 empty] | 7.054% | 2.657% | -38.27% | -23.7% | 7.054% | 2.657% | -38.27% | -23.7% | 57.58% | 41.67% | 57.58% | 66.67%
PT | [6 empty] | 128.2025 | 421.48 | [11 empty] | 24.96%
RO | [16 empty] | 120% | 195.3% | 19.95% | 77.46% | 46.15% | 114.6% | -33.01% | -15.98%
SE | [16 empty] | 5.933% | 23.5% | 23.25% |  | 1.65% | -35% | -23.5%
SI | 86 | 257.5 | 92 | 220 | 64 | 208 | 66 | 215 | 95.75 | 295.25 | 94 | 248.5 | 121.1667 | 94.6667 | 104 | 85 |  |  |  | 8% |  |  |  | -17%
SK
UK | [16 empty] | -3.125% | 19.48% |  | -12.44% |  |  |  |  | -14.3% | -13.63% |  | -17.91%

## conformity-plausibility
Member State | Conformity | [8 empty] | Plausibility
| 0) Scope | 1) Reference buildings | 2) Measures | 3a) Calculation PE | 3b) Calculation GC | 4) Sensitivity analysis | 5) Cost-optimal level | 6) Gap analysis |  | 1) Reference buildings | 2) Measures | 3a) Calculation PE | 3b) Calculation GC | 4) Sensitivity analysis | 5) Cost-optimal level | 6) Gap analysis
AT | not fully conform | not fully conform | conform | conform | not fully conform | conform | not fully conform | further information needed |  | plausible | not fully plausible | plausible | plausible | plausible | not fully plausible | further information needed
BEbru | not fully conform | conform | conform | conform | conform | conform | conform | conform |  | plausible | plausible | plausible | plausible | plausible | plausible | plausible
BEfla | not fully conform | conform | conform | conform | not fully conform | conform | conform | not conform |  | plausible | plausible | plausible | not fully plausible | plausible | plausible | not applicable
BEwal | conform | conform | conform | conform | further information needed | not applicable | conform | not applicable |  | plausible | plausible | plausible | plausible | not applicable | plausible | not applicable
CY | conform | conform | conform | conform | further information needed | conform | further information needed | further information needed |  | plausible | plausible | plausible | plausible | plausible | further information needed | further information needed
CZ | conform | conform | not fully conform | conform | conform | conform | not fully conform | not applicable |  | plausible | plausible | plausible | plausible | plausible | not applicable | not applicable
DE | not fully conform | not fully conform | further information needed | further information needed | conform | not fully conform | further information needed | further information needed |  | further information needed | further information needed | further information needed | plausible | plausible | further information needed | further information needed
DK | not fully conform | conform | conform | conform | conform | conform | conform | not fully conform |  | plausible | plausible | plausible | plausible | plausible | plausible | not applicable
EE | not fully conform | not fully conform | conform | conform | not fully conform | not fully conform | conform | conform |  | plausible | plausible | plausible | plausible | plausible | plausible | plausible
EL | not fully conform | conform | conform | conform | conform | conform | conform | not fully conform |  | plausible | not fully plausible | plausible | plausible | plausible | plausible | not applicable
ES | not fully conform | not fully conform | further information needed | conform | conform | conform | conform | conform |  | plausible | not fully plausible | plausible | plausible | plausible | plausible | plausible
FI | not fully conform | conform | conform | conform | conform | conform | not fully conform | not fully conform |  | plausible | plausible | plausible | plausible | plausible | not fully plausible | plausible
FIaal | not fully conform | not fully conform | not fully conform | conform | conform | conform | further information needed | further information needed |  | plausible | not fully plausible | plausible | plausible | plausible | further information needed | not applicable
FR | conform | conform | conform | conform | conform | conform | conform | conform |  | plausible | not fully plausible | further information needed | further information needed | plausible | plausible | plausible
GIB | not fully conform | not fully conform | conform | conform | further information needed | conform | conform | further information needed |  | not fully plausible | plausible | plausible | not fully plausible | plausible | plausible | plausible
HU | conform | conform | conform | conform | conform | conform | conform | further information needed |  | plausible | plausible | plausible | plausible | plausible | plausible | plausible
IE | conform | conform | conform | conform | further information needed | conform | conform | not applicable |  | plausible | plausible | plausible | further information needed | plausible | not fully plausible | not fully plausible
IT | not applicable | conform | conform | conform | conform | further information needed | further information needed | further information needed |  | plausible | not applicable | not applicable | not applicable | not applicable | not applicable | not applicable
LT | conform | conform | not fully conform | conform | conform | conform | not fully conform | not fully conform |  | plausible | plausible | plausible | plausible | plausible | plausible | plausible
LV | conform | conform | further information needed | conform | conform | conform | further information needed | further information needed |  | plausible | further information needed | plausible | plausible | plausible | further information needed | further information needed
LU | conform | not fully conform | conform | conform | conform | conform | not fully conform | conform |  | not fully plausible | plausible | plausible | plausible | plausible | not fully plausible | plausible
MT | not fully conform | conform | conform | conform | conform | conform | conform | conform |  | plausible | plausible | plausible | plausible | plausible | plausible | plausible
NL | not fully conform | not fully conform | not fully conform | further information needed | conform | conform | not conform | further information needed |  | plausible | plausible | further information needed | plausible | plausible | not fully plausible | not fully plausible
PL | not fully conform | conform | conform | conform | conform | not conform | not fully conform | not conform |  | not fully plausible | not fully plausible | not fully plausible | not fully plausible | not applicable | plausible | not applicable
PT | not conform | not conform | conform | conform | conform | conform | conform | not fully conform |  | plausible | plausible | plausible | plausible | plausible | plausible | not fully plausible
RO | not fully conform | conform | conform | further information needed | conform | conform | further information needed | not fully conform |  | plausible | not fully plausible | further information needed | plausible | plausible | not fully plausible | plausible
SE | not fully conform | not fully conform | not fully conform | conform | not fully conform | conform | conform | not fully conform |  | plausible | not fully plausible | plausible | not fully plausible | plausible | not fully plausible | not applicable
SI | not fully conform | conform | conform | conform | conform | conform | conform | not applicable |  | plausible | plausible | plausible | plausible | plausible | plausible | not applicable
SK | not fully conform | not fully conform | conform | not fully conform | not fully conform | not conform | not fully conform | not conform |  | plausible | plausible | further information needed | further information needed | not applicable | further information needed | not applicable
UK | not fully conform | conform | conform | conform | not fully conform | conform | conform | further information needed |  | plausible | plausible | plausible | not fully plausible | plausible | plausible | not applicable
not applicable | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | not applicable | 0 | 1 | 1 | 1 | 4 | 2 | 12
conform | 9 | 19 | 22 | 26 | 20 | 24 | 16 | 6 | plausible | 26 | 19 | 23 | 21 | 26 | 16 | 11
not fully conform | 19 | 10 | 5 | 1 | 6 | 2 | 7 | 7 | not fully plausible | 3 | 8 | 1 | 5 | 0 | 7 | 3
not conform | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 3 | not plausible | 0 | 0 | 0 | 0 | 0 | 0 | 0
further information needed | 0 | 0 | 3 | 3 | 4 | 1 | 6 | 10 | further information needed | 1 | 2 | 5 | 3 | 0 | 5 | 4

## Gap
Gap 2013
|  | Building level (primary energy) | [7 empty] | Gaps 2018 vs 2013
Member State | Virtual or Existing | new SFH | new MFH | new Office | new Other N-R | existing SFH | existing MFH | existing Office | existing Other N-R |  | new SFH | new MFH | new Office | new Other N-R | existing SFH | existing MFH | existing Office | existing Other N-R
AT | Virtual buildings | 47.73% | 54.55% | 6.186% | n/a | 53.61% | 44.83% | n/a | n/a | AT | 48% (2013) | 55% (2013) | 6% (2013) | n/a | 54% (2013) | 45% (2013) | n/a | n/a
BEbru | Real buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | BEbru | -30% (2018) | -18% (2018) | n/a | n/a | -54% (2018) | -61% (2018) | n/a | n/a
BEfla | Real buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | BEfla | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
BEwal | Real buildings | 15.04% | 15.04% | n/a | n/a | n/a | n/a | n/a | n/a | BEwal | from 15% to 40% | from 15% to 83% | n/a | n/a | n/a | n/a | n/a | n/a
CY | Virtual buildings | 32.69% | -1.843% | -6.786% | n/a | n/a | n/a | -7.143% | n/a | CY | 33% (2013) | -2% (2013) | -7% (2013) | n/a | n/a | n/a | -7% (2013) | n/a
CZ | Real buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | CZ | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
DE | Other | 0% | 0% | 0% | n/a | n/a | n/a | n/a | n/a | DE | 0% (2013) | 0% (2013) | 0% (2013) | n/a | n/a | n/a | n/a | n/a
DK | Real buildings | -10% | -11.11% | 32.69% | n/a | 0.6369% | 2.74% | -2.703% | n/a | DK | from -10% to -22% | from -11% to -15% | from 33% to -11% | n/a | from 1% to 10% | from 3% to 63% | from -3% to 39% | n/a
EE | Real buildings | 0% | -12% | -3% | n/a | -7% | 6% | 17% | n/a | EE | from 0% to 46% | from -12% to 31% | from -3% to 42% | n/a | from -7% to 16% | from 6% to 38% | from 17% to 31% | n/a
EL | Virtual buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | EL | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
ES | Real buildings | 8% | 7% | 7% | n/a | -29% | -27% | -6% | n/a | ES | from 8% to 14% | from 7% to 21% | 7% (2013) | n/a | -29% (2013) | -27% (2013) | -6% (2013) | n/a
FI | Other | 15% | 0% | 3% | n/a | 19% | 1% | 11% | n/a | FI | from 15% to 14% | from 0% to 9% | from 3% to 13% | 14% (2018) | from 19% to 8% | from 1% to 4% | from 11% to 0% | 10% (2018)
FIaal | Real buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | FIaal | 11% (2018) | 31% (2018) | 30% (2018) | n/a | n/a | n/a | n/a | n/a
FR | Real buildings | -46.24% | -5.97% | -12.61% | -12.61% | 10.28% | 10.09% | 48.53% | 48.53% | FR | from -46% to -24% | from -6% to 2% | from -13% to 3% | from -13% to -10% | from 10% to 1% | from 10% to -5% | from 49% to -34% | from 49% to 6%
GIB | Virtual buildings | n/a | 36% | 16% | n/a | n/a | 64% | 114% | n/a | GIB | n/a | from 36% to 12% | from 16% to 12% | 37% (2018) | n/a | 64% (2013) | 114% (2013) | n/a
HU | Real buildings | 67.16% | 25.56% | 59.52% | n/a | 70.94% | -15.17% | -31.25% | n/a | HU | from 67% to -32% | from 26% to -38% | from 60% to -6% | -1% (2018) | from 71% to -6% | from -15% to 4% | from -31% to -10% | -30% (2018)
IE | Virtual buildings | 51% | -11% | 299% | n/a | n/a | n/a | n/a | n/a | IE | from 51% to -5% | from -11% to -35% | from 299% to 9% | -9% (2018) | 23% (2018) | 42% (2018) | -28% (2018) | 82% (2018)
IT | Virtual buildings | 31% | 80% | -22% | n/a | n/a | n/a | n/a | n/a | IT | 31% (2013) | 80% (2013) | -22% (2013) | n/a | n/a | n/a | n/a | n/a
LT | Real buildings | 20% | 11% | 21% | n/a | 54% | 56% | 80% | n/a | LT | from 20% to -10% | from 11% to -4% | from 21% to 1% | 2% (2018) | from 54% to 7% | from 56% to 5% | from 80% to 10% | 10% (2018)
LV | Real buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | LV | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
LU | Real buildings | 0% | 0% | 16% | n/a | 8% | 7% | 5% | n/a | LU | from 0% to -21% | from 0% to -18% | from 16% to 0% | -21% (2018) | from 8% to 8% | from 7% to 8% | from 5% to 14% | -16% (2018)
MT | Real buildings | 171.9% | 680% | n/a | 63.01% | 269.6% | 680% | n/a | 74.15% | MT | 172% (2013) | 680% (2013) | 61% (2018) | from 63% to 30% | 270% (2013) | 680% (2013) | n/a | from 74% to 27%
NL | Virtual buildings | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | NL | 5% (2018) | 5% (2018) | -3% (2018) | -3% (2018) | n/a | n/a | n/a | n/a
PL | Real buildings | 17% | 43% | n/a | n/a | 79% | 92% | n/a | n/a | PL | from 17% to 7% | from 43% to 3% | -38% (2018) | -24% (2018) | from 79% to 7% | from 92% to 3% | -38% (2018) | -24% (2018)
PT | Virtual buildings | -10% | -12% | n/a | n/a | 1% | -2% | n/a | n/a | PT | -10% (2013) | -12% (2013) | n/a | 25% (2018) | 1% (2013) | -2% (2013) | n/a | n/a
RO | Real buildings | 102.3% | 33% | 16.19% | n/a | 65.19% | 58.33% | 39.51% | n/a | RO | from 102% to 120% | from 33% to 195% | from 16% to 20% | 77% (2018) | from 65% to 46% | from 58% to 115% | from 40% to -33% | -16% (2018)
SE | Virtual buildings | 35.19% | 52.08% | -5.814% | n/a | n/a | n/a | n/a | n/a | SE | from 35% to 6% | from 52% to 24% | from -6% to 23% | n/a | 2% (2018) | -35% (2018) | -24% (2018) | n/a
SI | Virtual buildings | 14% | 14% | 20% | n/a | 15% | 19% | -37% | n/a | SI | 14% (2013) | 14% (2013) | 20% (2013) | 8% (2018) | 15% (2013) | 19% (2013) | -37% (2013) | -17% (2018)
SK | Real buildings | 116% | 43% | 35% | n/a | 48% | 49% | 85% | n/a | SK | 116% (2013) | 43% (2013) | 35% (2013) | n/a | 48% (2013) | 49% (2013) | 85% (2013) | n/a
UK | Virtual buildings | -21.28% | -20.61% | -4.762% | n/a | n/a | n/a | n/a | n/a | UK | from -21% to -3% | from -21% to 19% | -5% (2013) | -12% (2018) | n/a | n/a | n/a | n/a

## Best practices
Best Practices
MS | 1) Establishment of reference buildings | 2) Identification of energy efficiency measures | 3a) Calculation of the primary energy demand | 3b) Calculation of the global cost in terms of net present value | 4) Sensitivity analysis | 5) Derivation of a cost-optimal level of energy performance | 6) Plan to reduce the gap
AT | Good number of residential building types. |  |  |  | Sensitivity analyses were carried out for all main input parameters.
BEbru |  | Several measures have been included in the analysis.
Befla |  | For non-residential buildings a very large number of measures was considered. |  |  |  | For non-residential buildings a pareto-front optimisation approach was used.
Bewal | number of reference buildings | number and type of measures considered
CY | Description of building types. |  | Dynamic simulation (EnergyPlus).
CZ | Good selection of subcategories of reference buildings |  |  | Good cost analysis and market survey.
DE
DK | Good selection of subcategories of reference buildings | Comprehensive selection of envelope measures.
EE |  | Comprehensive selection of envelope measures. |  |  |  |  | A plan to reduce the gap is provided.
EL | Very good selection of reference buildings, based on a deep analysis of building stock. | Good selection of number and type of efficiency measures
ES | [6 empty] | The results of the cost-optimal study have been used to calculate new requirements to be included in the new DB-HE by the end of 2018.
FI | A second non-residential building type (new commercial and existing school) was taken into account. |  | A dynamic estimation of energy needs was done.
FIaal |  |  | A dynamic model was used.
FR | Good number of reference buildings |  |  |  | Deep sensitivity analysis
GIB
HU | Good selection of subcategories of reference buildings (including historical buildings) | Comprehensive selection of envelope measures. Discrete selection of active systems measures. |  |  |  | Good discussion on the selection of the cost optimal level for every reference building and on the reasons why other building variants can't reach the region of cost optimality.
IE | A good number of type of buildings. | A good selection of measures in terms of number and type. |  |  | A deep sensitivity analysis.
IT |  | Another non-residential building type (school) will be added, but only for existing buildings. |  |  | The full cost approach will be used.
LT | High number of building subcategories
LV | Many different categories of reference buildings have been considered for existing non residential buildings. |  |  | Costs are detailed for different technologies.
LU |  |  |  |  | 6 scenarios were defined and applied. The impact of subsidies was also discussed.
MT
NL | High number of reference buildings
PL
PT | More climate conditions were considered |  | Dynamic simulation
RO | The calculation covers many building types
SE
SI | good selection of reference buildings | good selection of number and type of efficiency measures
SK |  |  | A study on how reduce lighting was performed. |  |  | It seems that a cost-optimal range (+15%) was used.
UK | - Good selection of non residential buildings | - Good selection of measures and their combination in packages/variants
Weaknesses / Reccomandations
MS | 1) Establishment of reference buildings | 2) Identification of energy efficiency measures | 3a) Calculation of the primary energy demand | 3b) Calculation of the global cost in terms of net present value | 4) Sensitivity analysis | 5) Derivation of a cost-optimal level of energy performance | 6) Plan to reduce the gap
AT | Non-residential building types have to be included in the analysis. |  |  | Macroeconomic perspective has to be considered too. |  | - Separate cost-optimal levels for each building type (i.e. single-family and multi-family) should be calculated. - A cost-optimal range could be applied. - The final cost-optimal levels should be calculated by averaging the partial results, instead of selecting the maximum value. At least this choice should be motivated.
BEbru | The report is missing non-residential buildings. | [5 empty] | Gaps with NZEBs requirements could be provided.
Befla | The choice to study the single apartment or functional area (for non-residential) makes difficult to derive clear results at building level. | [5 empty] | The report lacks to compare the final cost-optimal levels to current/NZEB requirements
Bewal |  |  |  |  | Sensitivity analysis is missing |  | Plan to reduce gap is missing
CY |  |  |  |  | The results should be discussed and lessons should be derived. | Cost-optimal levels have to be derived and compared to existing requirements. | If needed, a plan to reduce the gaps should be defined.
CZ |  | Few envelope variants on existing buildings (only one). Solar RES technologies are rarely considered. |  |  |  | The macroeconomic perspective is very marginal, almost completely absent.
DE
DK | An additional non-residential building type should be considered. | Poor fair competition between system tecnologies. Only few generators are considered as variant and not in all reference buildings. About window sobstitution, please specify at least thermal performance (U-value, SHGH). |  |  |  |  | It seems that there are some significant discrepancies (>15%) between the outcome of the cost-optimal calculation and the future NZEB component requirements (Building Class 2020). Also to the "Renovation Class 2" are associated significant gaps, especially for multi-family residential buildings. The MS should clarify how the obtained cost-optimal results will be used to tighten the current energy requirements. For instance, the "Renovation Class 1" could be set as main reference since 2021.
EE | An additional non-residential building type should be considered. | Poor fair competition between system tecnologies. Only few generators are considered as variant and not for all reference buildings. Measure on distribution, emission and control of heating/cooling systems are not generally considered. |  |  |  |  | It should be clarified how the gaps were calculated, starting from cost-optimal levels derived for different building subcategories and different cost-optimal options.
EL
ES | A second non-residential building type should be considered | Some EE measures were not taken into account |  |  |  |  | MS could have calculated the gap with current requirements.
FI |  | A low number of system variants is considered and RES are not taken into account. By increasing the detail here, the number of renovation packages could be inceased above the minimum threshold. |  |  | The results obtained should be briefly discussed. | Another cost-optimal level (with equal or similar global cost and lower primary energy consumption) could be selected for almost all building types, appluying a cost range.
Fiaal |  | Few variants have been included.
FR |  | The RES technologies are rarely considered. The building system variants are few developed. |  | The costs of variants are missing in the report |  | The global costs calculations are missing in the report
GIB | - A second existing office building is missing - A new single family house is missing | - Only reversible heat pump are considered as heating generators. |  | - The MS is considering constant energy prices throughout the calculation period. |  |  | - Comparison with current regulation not so clear in the case of existing building result analysis
HU |  | Few building variants include photovoltaic systems, in particular for existing buildings. More variants with PV system could have been selected, in order to improve the fair competition between measures. About historical buildings, internal insulation measures could have been selected for the purpose of the calculation.
IE | [6 empty] | More evidences should be provided to justify the gap between current requirements and the cost optimal levels.
IT |  | The described methodology is conform to the EPBD requirements, but it it has not yet been applied. Since no results are available, it is not possible to assess their plausibility and to understand their possible impact on the future Italian regulations.
LT |  | Poor fair competition between system tecnologies. Only few generators are considered as variant and not in all reference buildings. |  |  |  | The adopted method (average of sub-optimum levels) doesn't allow to clearly indicate the optimal system configurations. It should be clarified how the definition of the system variants impact on the final cost-optimal results, especially regarding the inclusion/exclusion of RES technologies. | The MS should clarify the cost-optimal results for existing buildings and how these will be used to tighten the current energy requirements for existing buildings. They should also detail how they are moving towards NZEBs.
LV | [5 empty] | The cost-optimal configuration has to be identified and specified. | The gap needs to be assessed.
LU | The exisitng building types coincide with the new ones and
NL |  | Low number of variants for some building types. |  |  |  | Clear cost-optimal levels (comparable with existing requirements) are not provided. The official guidelines should be applied to derive them.
PL |  | The variants of building components, in terms of thermal transmittance, are less heterogeneous than expected. |  |  | missing |  | missing
PT | The calculation should be carried out also for other building types (new and existing). | [5 empty] | The reasons provided don't fully justify the gap and the plan should be better define, including a roadmap and a link with NZEB requirements
RO |  | Many technology options were not taken into account (e.g. cogeneration, PV) |  |  |  | Cost-optimal levels for minimum performance requirements for building elements are missing | The plan should be more detailed and include a discussion of the NZEB requirements.
SE | A second non-residential building type should be defined in accordance with the Commission Delegated Regulation (EU) No 244/2012. | It seems that only a single measure for every variant was modelled. A set of packages/variants that include more than one measure could improve the study. |  |  |  | Into the report often is explicited that the Sweden is characterized by a significant difference between the North and South of country, but no information is provided about the climate conditions taken into account. The consideration of different climate conditions could improve the reliability of the report. | A plan to reduce the gap for new multi-family and office buildings with geothermal heat pump is not provided.
SI
SK | Another non-residetial building should have been considered. | Renewables should be more enphasied in the measure selection. | Details on the calculations should be provided. | Global costs are missing. | Sensitivity analysis is missing. | The identification of the cost-optimal value should be detailed. | A gap analysis should be performed.
UK | [6 empty] | The plan to reduce the gap is missing.